C***********************************************************************

C

C	THE REST OF THE SUBROUTINES ARE SPECIFIC TO THE CANBERRA INTERFACE

C	WE USE AT ALFRED UNIVERSITY.  PIECES OF IT MAY BE USEFUL.

C	THE SYNTAX OF THE CALLS IS DOCUMENTED HERE.

C

C***********************************************************************

C

C	DESCRIPTION OF STANDARD INTERFACE CONTROL ROUTINES

C	Jim Walker, Alfred University, 4-SEP-85.

C

C	By having a standard for interface control subroutines it becomes

C	easier to convert a data collection program from one type of

C	interface to another.  All that is required is linking the same

C	main program with a different interface library.

C

C	All subroutine names and common block names in the interface

C	control package begin with IF.  You can avoid accidently naming

C	part of the main program the same as one of these subroutines by

C	avoiding names that start with IF.

C

C  INTERFACE CONTROL SUBROUTINES:

C

CCALL IFINIT(IQUIT)   { initialize interface }

C	  Assigns the unit numbers in IF1 and IF2 to the interface,

C	initializes the interface and sets the detector to a known angle.

C	IQUIT is a flag that indicates the unit is initialized (IQUIT.EQ.0)

C	or the user hit control Z when asked the current angle (IQUIT.NE.0)

CCALL IFLOAD(IQUIT)   { load sample }

C	  Loads a sample if an automatic sample changer is in use.

C	If sample is changed manually this moves to a nice angle and waits

C	for the user to press S to start.  If IFINIT hasn't been called

C	yet, this calls it.  IQUIT works the same as with IFINIT.

CCALL IFEXIT { unload sample and shut down unit }

C	  This is similer to IFLOAD.  It allows the user to unload the last

C	sample then moves the detector to 90 degrees.  If IFINIT hasn't been

C	called yet, this subroutine does nothing.

CCALL IFSSCN( BANG, EANG, DANG, SPEED, TIMEL,COUNTL, SUB WRCNT)

C	  This does a step scan.  BANG is the starting angle.

C	EANG is the ending angle if positive, or negative the number of steps.

C	SPEED is the degrees per minute to move between steps.

C	IF(SPEED.LT.0) then the count time includes the move time.

C	IF(SPEED.EQ.0) the default in SPSTEP is used as the speed.

C	TIMEL and COUNTL are the maximum time and maximun counts to count for.

C	SUB WRCNT is a dummy subroutine that is called after each step.  The

C	results passed in common to WRCNT are the time counted (CTIME), number

C	of counts (COUNTS), angle counted at (ANGLE), and step number (ISTEP).

CCALL IFINTE( DANG, COUNTS, TIME)

C	  This integrates DANG degrees starting from current angle.

C	The time counted and number of counts are passed back.

CCALL IFMOVE( TANG, SPEED) { absolute move }

C	  Moves the detector to angle TANG at SPEED degrees per minute.

C	IF(SPEED.EQ.0) the default in SPSLEW (for long moves) or

C	SPSTEP (for short moves) is used as the speed.

C	If(SPEED.LT.0) the movement is toward low angle and IFMOVE goes too

C	far, then backs up to clean up gear backlash.

CCALL IFRMOV( DANG, SPEED) { relative move }

C	  This is equivalent to call IFMOVE( current angle + DANG , SPEED).

CCALL IFCNT( TIMEL, COUNTL) { collect a point }

C	  This counts at the current angle.  TIMEL and COUNTL are the

C	maximum time and maximun counts to count for.  The results passed

C	back in common are the time counted (CTIME), number of counts (COUNTS),

C	and angle counted at (ANGLE).

CCALL IFTEMP(ITEMP) { finds temperature }

C	  ITEMP is supposed to be the temp in degrees C times 100.  In

C	Alfred we don't measure the temperature so this always returns

C	2500 for room tempeture.

C

C  DATA CONVERSION SUBROUTINES:

C	  These are functions that convert units that people like to codes

C	that the interface needs to see.  These were written as subroutines

C	instead of functions because I like to be able to find out which

C	subprograms a routine uses by searching for the word "call".

C	The first argument is input and the result is stored in the last.

C

CCALL IFANGL( degrees, steps)

C	  Converts the detector angle from degrees to a number of steps.

C	The conversion factor is kept in common.  To convert steps back to

C	degrees, multiply by STPSIZ.  Because the number of steps is always a

C	whole number, there will never be any roundoff error to worry about.

C	If you insist on doing everything in degrees, you can set STPSIZ=1.0

C	and make IFANGL just do STEPS=DEGREES.

CCALL IFTIME( raw time, rounded time)

C	  This rounds the time you ask for off to the nearest time the

C	counter/timer is capable of using.

CCALL IFSPED( raw speed, rounded speed)

C	  This rounds the speed you want off to the nearest speed the

C	axis positioner is capable of moving.

C

C  OTHER SUBS CALLED BY BUT NOT PART OF INTERFACE LIBRARY:

C	  These are called by the interface control library, but are

C	program dependant rather than interface depandant.

C

CSUBROUTINE IFERR { cleans up and exits on fatal error }

C	  When a routine in the library detects a fatal error, it prints an

C	error message and stores codes in IFSTAT and KICK (documented below)

C	and then calls IFERR immediatly before returning.  This routine may

C	print any additional messages required by the program, and then stop.

C	This frees the programmer from testing error codes after each call

C	to the IF subroutines.

CSUBROUTINE IFKICK { respond to interrupts }

C	  Some interfaces have a "computer attention" button, and some

C	operating systems have ways to check to see if the user hit a key

C	without waiting if there is no input.  These can be used to allow

C	the user to interrupt a run and get a status report, set debug flags,

C	or simply abort a run.  When the part of the interface library that

C	actually gets input detects an interrupt, it calls IFKICK.  The

C	type of interrupt is passed in KICK.  IFKICK is responsible for

C	printing the status report, or setting debug flags.

CSUBROUTINE dummy( COUNTS) { last arg of IFSSCN; deals with data. }

C	  This subroutine is passed to IFSSCN as the last argument.

C	It can have any name, and there can be different versions for

C	different scans.  It is called after each point is measured and

C	is supposed to pull the data out of common (see IFSSCN for variable

C	names)  and store that data where it is supposed to go.

C

C======================================================================

C

C  ERROR HANDLING

C

C	  Errors are handled by the routine that detects the error.

C	Any necessary messages are printed and then subroutine IFERR is

C	called.  IFERR is supposed to print any program dependant messages,

C	such as what inputs should be used to restart the run, and then stop.

C	This frees the programmer from checking error codes after each call.

C	If you want to check error codes, write IFERR so it returns instead

C	of stopping.  Error codes are returned in common in IFSTAT and KICK.

C

C	IFSTAT indicates the interface just did (>0) or tried to do (<0):

C	Positive numbers indicate sucessful completion.  Negative numbers

C	indicate a fatal error.  Routines that can cause each error are

C	in parentheses.

C		 0  not yet initialized (the initial state)

C		 1  just initialized or unloaded sample (IFMOVE or IFEXIT)

C		 2  just loaded (IFLOAD)

C		 3  just moved (IFMOVE, IFRMOVE)

C		 4  counted for requested time (IFCNT)

C		 5  counted to count limit (IFCNT)

C		 6  completed scan (IFSSCN, IFINTE)

C

C	KICK indicates which abnormal event took place.

C	Codes 10 and above indicate the program was interruped by the

C	user.  For example, the user may have pushed the "computer attention

C	button on the interface.  Positive numbers indicate that the program

C	can continue after printing messages.  Negative numbers indicate

C	the program should exit.

C		 0  normal completion

C		 1  I/O error (causes NERR to be incremented.)

C		 2  bug check (i.e., something that should never happen.)

C		 3  bad parameters in subroutine call

C		+3  a bad parameter was replaced by a default value

C		-4  too many errors; NERR >= LIMERR

C		 9  some error but the programmer didn't bother to say which

C		+10 user paused program and maybe set debug flags

C		-10 user wants to abort program: print info needed to restart.

C		+11 print brief status

C		+12 print extended status

C

C=======================================================================

C

C  COMMON BLOCKS

C

COMMON /IFDATA/ holds information that is used internally by the interface

C   control libray, but is not needed in very many places in the main program.

C	BANGL,   Lowest angle detector can be moved to.      Not in degrees!

C	EANGL,   Highest angle detector can be moved to.      "   "

C	SETANG,  Angle to move to for easy loading of sample. "   "

C	SPINTE,  Default speed for integration  (degrees per minute).

C	SPSLEW,  Default speed used when moving long distences.

C	SPSTEP,  Default speed used for moving short distences.

C	DELAY,   Fudge factor used in calculating how long a run will take.

C		Use DELAY * TIMEL * (EANG-BANG)/DANG as an estimate.

C	IFTYPE,  Interface type, for future use.  This would allow one set of

C		subroutines to be written that works on several different

C		types of interfaces, instead of having a separate library for

C		each type.

C	IFNAME,  a 6 byte character string holding the name of the unit in use.

C		This is at the end so it can be extended without displacing

C		everything else in the common block.

C

COMMON /IFCMN/ holds information that is used fairly frequently in the

C   main program.

C	STPSIZ,  conversion factor for converting angles into degrees before

C		printing them.

C	CANG,    the current angle of the detector.  Set after each move.

C	ANGLE,   the angle of the last point measured.  Set by IFSSCN

C		and IFCNT.  May or may not be set by IFINTE, depending on

C		whether or not integration is done by summing up a stepscan.

C		Note that IFMOVE does not set set this!

C	COUNTS,  number of counts at last poing or integrated over range.

C	CTIME,   time used to collect above number of counts.

C	ISTEP,   point number in a step scan; can be used as a subscript

C		by the dummy subroutine supplied to IFSSCN.

C	IFSTAT,  interface status (see section on error handling).

C	NERRS,   number of recoverable errors since interface was initialized.

C	LIMERR,  maximum tolerable of recoverable errors before program aborts.

C	KICK     abnormal event code (see section on error handling).

C