## Standard
XRD Service
School of Physics & Astronomy
University of Birmingham
Date: |  |  | 1997-07-29
Instrumental Correction Factors using a Silver Standard Material
2q Zero & Specimen Surface Displacement (SSD) Determination
Lab Temp oC |  |  | 26.4 |  | l: | 1.5406
Cell @ 25oC |  |  | 4.0862 | ao | R (mm): | 145.53
Cell @ Temp |  |  | 4.0864 | ao(t) | Exp. Coeff. | 1.89e-05
Results of Peak position refinement from PROFILE output:
[9 empty] | Cos 2qobs | Calc. Fit
h | k | l | dcal (A) | 2qcal | 2qobs | Cos 2qobs | D(2q) | Calc. Fit | 1 | 0.017413
1 | 1 | 1 | 2.3593 | 38.113 | 38.0979 | 0.9452 | 0.015088 | 0.017832 | 0.9452 | 0.017832
2 | 0 | 0 | 2.0432 | 44.2972 | 44.2784 | 0.92621 | 0.018802 | 0.017977 | 0.92621 | 0.017977
2 | 2 | 0 | 1.4447 | 64.4402 | 64.4235 | 0.84601 | 0.016651 | 0.01859 | 0.84601 | 0.01859
3 | 1 | 1 | 1.2321 | 77.3938 | 77.3724 | 0.78046 | 0.021403 | 0.019092 | 0.78046 | 0.019092
2 | 2 | 2 | 1.1796 | 81.5364 | 81.5151 | 0.75736 | 0.021332 | 0.019268 | 0.75736 | 0.019268
4 | 0 | 0 | 1.0216 | 97.8796 | 97.8564 | 0.65685 | 0.023245 | 0.020037 | 0.65685 | 0.020037
3 | 3 | 1 | 0.93747 | 110.5055 | 110.485 | 0.56996 | 0.020514 | 0.020702 | 0.56996 | 0.020702
4 | 2 | 0 | 0.91374 | 114.9208 | 114.9034 | 0.53788 | 0.017447 | 0.020947 | 0.53788 | 0.020947
4 | 2 | 2 | 0.83412 | 134.8812 | 134.8591 | 0.38364 | 0.022089 | 0.022126 | 0.38364 | 0.022126
[9 empty] | 0 | 0.02506
Regression results:
D(2q) versus Cos 2q
|  | Slope |  | -0.0076474 | Std err +/- | 0.0046932
|  | Intercept |  | 0.02506 | Std err +/- | 0.0034426
Instrumental Correction Factors:
| Zero Offset (scale) |  |  | 0.02506 | Std err +/- | 0.0034426
| SSD (mm) |  |  | 0.0097122 | Std err +/- | 0.0059603

## LSR
SUMMARY OUTPUT
Regression Statistics
Multiple R | 0.5244
R Square | 0.275
Adjusted R Square | 0.17143
Standard Error | 0.0025113
Observations | 9
ANOVA
| df | SS | MS | F | Significance F
Regression | 1 | 1.6745e-05 | 1.6745e-05 | 2.6552 | 0.14724
Residual | 7 | 4.4146e-05 | 6.3066e-06
Total | 8 | 6.0891e-05
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 0.02506 | 0.0034426 | 7.2795 | 0.00016566 | 0.01692 | 0.033201 | 0.01692 | 0.033201
Cos 2qobs | -0.0076474 | 0.0046932 | -1.6295 | 0.14724 | -0.018745 | 0.0034502 | -0.018745 | 0.0034502