C  ---------------------------------------------------------------------

C

C             THIS PROGRAM WAS WRITTEN BY

C                        J.W. VISSER

C             OF THE TECHNISCH PHYSISCHE DIENST TNO-TH

C             P.O.BOX 155 DELFT NETHERLANDS.

C             IT CONTAINS MANY IDEAS AND SUGGESTIONS FROM

C                       PROF.DR. P.M. DE WOLFF

C             OF THE TECHNICAL UNIVERSITY (T.H) DELFT.

C

C

C             A DESCRIPTION OF THE PROGRAM WAS PUBLISHED IN

C             JOURNAL OF APPLIED CRYSTALLOGRAPHY.(1969) 2,89.

C

C

C             THIS WORK WAS LARGELY SPONSORED BY THE

C             JOINT COMMITTEE ON POWDER  DIFFRACTION STANDARDS

C             NOW AT  1601 PARK LANE, SWARTHMORE, PA. 19081

C             AND THE CENTRAL ORGANIZATION FOR  TNO, THE HAGUE,

C             NETHERLANDS.

C

C

C     THE PURPOSE OF THE PROGRAM IS TO FIND THE UNIT CELL FROM

C     THE POWDER PATTERN  OF COMPOUNDS OF LOW SYMMETRY.

C     ONE- AND TWO- PARAMETER PROBLEMS CAN BE SOLVED BY SIMPLER

C     METHODS.

C

C

C     THANKS ARE DUE TO   ROBIN SHIRLEY    OF THE UNIVERSITEY OF SURREY

C     WHO CONTRIBUTED MANY EXCELLENT IDEAS  AND ALSO MADE THE OUTPUT

C     MUCH BETTER UNDERSTANDABLE,

C                   AND

C     DR. GERALD G. JOHNSON JR. OF THE PENNSYLVANIA STATE UNIVERSITY

C     FOR MANY EXCELLENT IDEAS, SOME AS A RESULT FROM FEEDBACK BY USERS

C     IN THE U.S.A. TO WHOM HE DISTRIBUTED  THIS PROGRAM,   AND FOR

C     FORCING ME TO WRITE THIS PROGRAM IN A STANDARD (ANSI) LANGUAGE.

C

C

CXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX

C        THIS PROGRAM HAS PASSED THROUGH SEVERAL VERSIONS AND HAS

C     FOUND THE CORRECT UNIT CELL IN A LARGE NUMBER OF CASES. IT IS

C     POSSIBLE, HOWEVER, THAT UNDER SOME CIRCUMSTANCES, WITH A PARTICULA

C     SET OF DATA, OR WHEN USED WITH A PARTICULAR COMPUTER SYSTEM,

C     ERRONEOUS RESULTS WILL BE OBTAINED.

C     THE AUTHOR, THE  TECHNISCH PHYSISCHE DIENST TNO-TH, OR THE

C     JOINT COMMITTEE ON POWDER DIFFRACTION STANDARDS, THEREFORE, TAKE

C     NO RESPONSIBILITIES WHATSOEVER FOR  THE CORRECTNESS OF THE

C     PROGRAM OR THE RESULTS.

C        IT WOULD BE APPRECIATED IF ANY DISCREPANCIES IN THE PROGRAM

C     ARE BROUGHT TO THE ATTENTION OF THE AUTHOR, FOR IMPROVEMENTS IN

C     LATER VERSIONS.

CXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXXX

C

C-----------------------------------------------------------------------

C-----------------------------------------------------------------------

C                       VERSION  12        APRIL   1986

C-----------------------------------------------------------------------

C-----------------------------------------------------------------------

C        VERSION 1

C             TRIALS TO MAKE THE  FORTRAN  PROGRAM EQUIVALENT TO

C             THE PL/I PROGRAM.

C        VERSION 2

C             PROVISIONS FOR MOLECULAR WEIGHT AND DENSITY.

C             PRINT-OUT OF INPUT CARDS.

C        VERSION 3

C             ADDITION OF THE PROCEDURE SYMTST (TESTING ON

C             HIGHER SYMMETRIES) AND LESSER IMPROVEMENTS.

C        VERSION 4.

C             ADAPTATIONS TO AVOID DIFFICULTIES ENCOUNTERED ON

C             OTHER MACHINES (INCLUDING OTHER IBM-MACHINES).

C             INTRODUCTION OF SUBROUTINE  ECHO IN CONNECTION

C             WITH BACKSPACE DIFFICULTIES.

C             MINOR CHANGES IN THE OUTPUT.

C             SUBROUTINES IN ALFABETICAL  ORDER.

C        VERSION 5

C             INSTRUCTION MANUAL

C             IMPROVED OUTPUT TEXT.

C             MORE TESTS ON INPUT.

C             TESTING ON HIGHER SYMMETRIES  IMPROVED.

C             AN EFFORT HAS BEEN MADE TO COMPLY WITH THE REQUIREMENTS

C             OF  *ANS* FORTRAN.  THIS WAS NOT EVERYWHERE POSSIBLE.

C        VERSION 6

C             MANY WISHES FROM USERS FULFILLED.

C             DISCLAIMERS, BOTH IN COMMENT ON MAIN AND IN OUTPUT.

C             MIXED-MODE ARITHMETIC REMOVED.

C             SUBROUTINE WRISP REWRITTEN FOR FASTER PRINTING.

C             POSSIBILITY TO PRINT AN INSTRUCTION MANUAL ON THE

C             SPECIAL FEATURES OF THE PROGRAM.

C             POSSIBILITY TO ENTER  INTENSITIES WITH THE LINES.

C             POSSIBILITY TO PRODUCE A LIST OF ALL CALCULATED AND

C             OBSERVED LINES.

C             POSSIBILITY TO ENHANCE CERTAIN CRYSTAL SYSTEMS. DUE TO

C             THE GENERAL CONSTRUCTION OF THE PROGRAM, THIS IS ONLY

C             POSSIBLE FOR ORTHORHOMBIC,MONOCLINIC OR TRICLINIC

C             LATTICES.

C             PROBABILITY TO  *HIT*  A LINE IS SUBDIVIDED OVER THE

C             Q RANGE.   CHANGES IN  CRITER.

C             ERROR LIMITS ON OBSERVED Q'S CALCULATED ONCE.  DISPLAYED

C             WHEN TEST=.TRUE.

C             OVERLAYS  TESTED.

C        VERSION 7

C             ALL  A-FORMATS REDUCED TO A1, EXCEPT THOSE THAT PRINT

C             INTENSITIES IN CHARACTER FORM (A3)-  THESE OCCUR  ONLY

C             IN *READER*, *LISTM* AND *REFINE* .

C             TRIES TO INDEX ALL LINES WITH THE UNIT CELL OF

C             THE BEST SOLUTION.

C             INSTRUCTIONS REWRITTEN, OTHER EXPLANATIONS EXTENDED.

C             THE USE OF ONE SET OF HKL'S TO EXPLAIN MORE THAN

C             ONE OBSERVED LINE  IS FLAGGED.

C             NUMBER OF SOLUTIONS THAT  ARE PRINTED OUT EXTENSIVELY

C             CAN BE CHANGED.

C        VERSION 8

C             INPUT FORMAT CHANGED-- ADDITIONAL PARAMETER CARD.

C             ZERO SHIFT (SPECIMEN DISPLACEMENT+TRANSPARENCY

C             CORRECTION ON DIFFRACTOMETER)--THE NEW PARAMETER CARD

C             STARTS WITH THE ZERO CORRECTION (ZERCOR), TO BE

C             APPLIED TO ALL ANGLES.

C             ZERCHK-- THE PROGRAM APPLIES 20 DIFFERENT ZERO SHIFTS

C             AND GIVES FOR EACH SHIFT THE NUMBER OF HIGHER ORDER

C             LINES THAT FIT--   IN THIS WAY IT SHOULD BE POSSIBLE

C             TO DECIDE WHETHER A ZERO SHIFT IS NECESSARY.

C             ONLY SOLUTIONS WITH A FIGURE OF MERIT THAT IS BETTER

C             THAN 4.0 ARE PRINTED--YOU MAY SET YOUR OWN MINIMUM

C             WITH PRNTMR.

C             WITH PRNTLN YOU CAN SET YOUR OWN MINIMUM OF INDEXED

C             LINES THAT IS NEEDED IN ORDER THAT THE LATTICE

C             WILL BE PRINTED.

C             FOR TRIAL, IT IS NOW POSSIBLE TO ENTER A DIRECT CELL.

C             COMBINATIONS OF ZONES WITH ITSELF NOW TRIES BOTH AXES

C             AS 'COMMON' AXES.

C             THE NUMBER OF CYCLES OF LATTICE REFINEMENT IS INCREASED.

C             *REFPAR* IS SPLIT INTO TWO SUBROUTINES,ONE OF WHICH

C             (REFPAR) SETS THE PARAMETERS FOR THE OTHER (REFINE)--

C             THE LATTER SUBROUTINE DOES THE ACTUAL CALCULATIONS.

C             TOLERANCES  ON FITTING LINES NOW EXPRESSED IN TWO THETA.

C             A(3) FORMATS CHANGED INTO A(2),1X.

C        VERSION 8.5

C                  THE MAIN PROGRAM IS NOW SPLIT INTO 3 PARTS,AABITO,

C             AAITO1 AND ANITO2--  THE NEW MAIN PROGRAM (AABITO)

C             COMMENTS, INITIALISES SOME VALUES AND CALLS READER, AAITO1

C             AND ANITO2.

C                  ZERCHK IS NOW OPTIONAL (COL. 33 IN PARAMETER CARD).

C                  THE SUBROUTINE *NTEST* LIMITS THE TEST OUTPUT TO

C             A SMALL PART OF THE PROGRAM, OR PRINTS ALL TEST OUTPUT

C             AFTER A CERTAIN POINT-- THE COMMENT IN THE SUBROUTINE

C             GUIDES YOU TO THE ACTUAL CALLS--  THE SUBROUTINE IS ONLY

C             USEFUL WHEN YOU ARE CHANGING PARTS OF THE PROGRAM.

C                  LATTICES THAT ARE DISCARDED IN *NORM3* ARE NOW

C             EXPLICITLY NAMED--  ALSO NAMED ARE THE LATTICES THAT ARE

C             DISCARDED BECAUSE THEY ARE  *EQUAL* TO OTHERS.

C        VERSION 9

C             SUBROUTINE READER WAS SPLIT IN TWO PARTS, READER  AND

C             REDLIN. THIS LAST SUBROUTINE READS THE INPUT LINES. IT

C             ALSO CALCULATES THE MAXIMUM ERROR (IN TWO THETA) THAT

C             YOUR INPUT DATA COULD HAVE IN ORDER TO BE ABLE TO PASS

C             THE TESTS (FIGURE OF MERIT .GT. 10)--

C             TWICE THIS MAXIMUM ERROR IS USED AS THE DEFAULT TOLG,

C             BUT ONLY IF TOLG REMAINS LESS THAN 0.060 DEGREES. --

C             ENTERING YOUR OWN TOLG OVERRIDES THE DEFAULTS.--

C             IN THE LIST OF ALL CALCULATED AND OBSERVED LINES,

C             THE UNINDEXED LINES ARE NOW MARKED CONSPICUOUSLY (IDEA

C             FROM CAM HUBBARD)--

C             THE FATE OF THE POSSIBLE LATTICES IS PRINTED IN FULL,

C             BUT ONLY IF YOU PRINT INTERMEDIATE RESULTS (ENL=TRUE)--

C             THE MINIMUM VALUES OF THE RECIPROCAL LATTICE CONSTANTS

C             NOW ALLOWS THE FIRST LINE TO BE A FOURTH ORDER. IN AN

C             EXPERIMENTAL PATTERN, WHICH WAS ORTHORHOMBIC  WITH

C             SPACEGROUP FDD2, THIS SITUATION ACTUALLY OCCURRED ---

C        VERSION 10  (A)

C                          FORTRAN 77

C             MODIFIED TO CONCUR WITH FULL FORTRAN 77.THIS ALLOWED A

C             SIMPLER VERSION OF SUBROUTINE ECHO.--

C             EXPLANATION OF THE VARIABLES IN COMMON BLOCKS IS

C             GIVEN IN THIS PROGRAM (BELOW). --

C             INDIVIDUAL PROBABILITIES FOR EACH LINE (FOR FINZON).--

C             CRITER CHANGED TO CONCUR WITH EARLIER IDEAS.--

C             SORTING OF ZONES IN THE NEW SUBROUTINE  *SRTZON* --

C               THE OUTPUT OF EVALUATE IS SORTED ON THE CRITERION

C             CRIT,  BUT IF NO CORRECT LATTICE IS OBTAINED, IT IS USED

C             AGAIN BUT SORTED ON THE NUMBER OF OBSERVED LINES (NO)

C             THAT MATCH THE ZONE. A SUBSORT IS MADE ON THE NUMBER OF

C             CALCULATED LINES (NC). THIS SOMETIMES LEADS TO SUCCES.--

C               THE PAPER BY MIGHELL AND STALICK IN 'ACCURACY IN POWDER

C             DIFFRACTION' HAS CONVINCED ME THAT IT IS NECESSARY TO

C             ENSURE THAT ALL AVAILABLE DATA (UP TO 40 LINES) IS

C             ENTERED INTO THE PROGRAM.

C             IF YOU NOW WANT TO ENTER LESS THAN 32 LINES, YOU GET A

C             WARNING AND YOU HAVE TO ENTER THE CORRECT NUMBER OF LINES

C             ON THE SECOND PARAMETER CARD.--

C                  A TRIAL WAS MADE IN REFINING THE ZONES ON THETA

C             INSTEAD OF Q. THIS DID NOT WORK AS WELL AS REFINING ON Q.

C             THEREFORE, ONLY THE BEST ZONES ARE (AT THE END OF THE

C             EVALUATION PROCESS) REFINED ON THETA IN ORDER TO

C             ESTABLISH  A ZERO-SHIFT FOR EACH ZONE.

C             SINCE I DO NOT KNOW YET HOW USEFUL THIS CAN BE, NOTHING

C             MUCH IS BEING DONE WITH IT.  IF YOU WANT TO, YOU CAN

C             USE THE INFORMATION BY ENTERING A CONVINCING

C             TWOTHETA-SHIFT INTO THE PROGRAM (REVERSE THE SIGN STATED

C             AND ENTER ON SECOND PARAMETER CARD IN COL 1-9). --

C                 LATTICES ARE ALSO REFINED ON TWOTHETA, TOGETHER

C             WITH A ZERO SHIFT. THE ZERO SHIFT IS STORED IN

C             ROSTER(I,11) AND PRINTED.

C

C        VERSION 11

C             ECHO CHANGED FOR THE USE OF *IOSTAT*. --

C             PRINTING OF Q-SCHEMES FOR THE LATTICES ONLY

C             WHEN TEST=TRUE. --

C             INSTRUCTIONS CLARIFIED. --

C             INPUT OF 32 LINES AND LESS WITHOUT DIFFICULTY AGAIN,

C             BUT WITH AMPLE WARNING. --

C             FINAL SORTING OF LATTICES ON: M20/(21-LINES INDEXED).--

C             A BIBLIOGRAPHY WAS ADDED IN THE TEXT OF THE NEW ROUTINE

C             BIBLIO. IT IS ANNOUNCED IN THE PROGRAM OUTPUT. --

C             THE NAME OF SUBROUTINE SRTRON WAS CHANGED INTO SRTLIN. --

C             CARDS (RECORDS) NO LONGER NUMBERED. --

C             FOR *EXPORT* PURPOSES THE PROGRAM PLUS SUBROUTINES WAS

C             DIVIDED INTO 6 FILES OF ABT. 820 RECORDS EACH. --

C

C      VERSION 12

C             OUTPUT OF A SUMMARY OF THE DATA OF THE BEST SOLUTION ON

C             UNIT NSUMM (66). THE LENGTH OF THE LINES IN THIS OUTPUT

C             IS RESTRICTED TO 70 CHARACTERS. --

C               SOMETIMES A MONOCLINIC LATTICE IS FOUND TO BE A

C             RHOMBOHEDRAL LATTICE IN DISGUISE. A REFINEMENT OF THE

C             HEXAGONAL LATTICE CONSTANTS IS NOW CARRIED OUT IN THE

C             NEW SUBROUTINE *REFSYM* , FOLLOWED BY A PRINT-OUT OF

C             THE PATTERN AS INDEXED ON HEXAGONAL AXIS. --

C                TETRAGONAL,HEXAGONAL AND CUBIC LATTICES ARE ALSO

C             RECOGNISED AND REFINED AS SUCH. THEY ARE PRINTED BY

C             THE NEW SUBROUTINE *SYMPRT*. --

C

C-----------------------------------------------------------------------

C-----------------------------------------------------------------------

C           INPUT AND OUTPUT

C-----------------------------------------------------------------------

C

C     THE INPUT OF THIS PROGRAM SHOULD CONSIST OF:

C     1. A TITLE CARD,CONTAINING UP TO 80 CHARACTERS

C     2. TWO PARAMETER CARDS,THAT CAN BE COMPLETELY BLANK

C     3. A NUMBER OF LINES CARDS, CONTAINING THE POSITIONS OF THE LINES

C        THESE CAN BE ENTERED AS D-,Q- OR TWOTHETA VALUES. ( 8 F10.5 )

C        YOU MAY LEAVE ANY NUMBER OF POSITIONS PER CARD  BLANK.

C        THIS MEANS THAT YOU CAN ALSO ENTER ONLY ONE LINE PER CARD,

C        IN ANY ONE OF THE POSITIONS OF 8F10.5

C     4. A BLANK CARD, TO FINISH THE INPUT OF ONE PROBLEM.

C

C        REPEAT THE ABOVE  AS MANY TIMES AS PROBLEMS,   -- THEN --

C     5. A CARD CONTAINING THE WORD  --  END  -- IN THE THREE FIRST

C        COLUMNS,  TO FINISH THE INPUT.

C

C-----------------------------------------------------------------------

1          ***  INSTRUCTION  MANUAL  ***                    ---  VERSION 12  ---

IN CASE OF PROBLEMS, WRITE OR CALL

J.W.VISSER,  TECHNISCH PHYSISCHE DIENST, P.O.BOX 155,    DELFT, NETHERLANDS.   PHONE  015 - 787004, (788020)

OR

G.G.JOHNSON JR., MATERIALS RESEARCH LAB., PENN. STATE   UNIVERSITY, UNIVERSITY PARK, PENN. 16802, 814-865-1637

OR

R.SHIRLEY, CHEMICAL PHYSICS DEPT., UNIV. OF SURREY, GUILDFORD, SURREY GU2 5XH, ENGLAND.   PHONE 0483-71281 X449/427

0THIS PROGRAM TRIES TO FIND THE UNIT CELL FROM THE POWDER PATTERN.  THE PRINCIPLES ARE DESCRIBED IN

A PAPER BY VISSER IN THE JOURNAL OF APPLIED CRYSTALLOGRAPHY (1969) 2, 89.

MOST OF THE CALCULATIONS ARE CARRIED OUT IN TERMS OF Q-VALUES, THESE ARE (100/D)**2 ,WHERE D IS THE

INTERPLANAR DISTANCE IN ANGSTROMS.  ALL VALUES IN THE PROGRAM ARE EXPRESSED IN QU (Q-UNITS), UNLESS

INDICATED OTHERWISE.

THE INPUT OF THE PROGRAM IS ON UNIT 15, THE REGULAR OUTPUT IS ON UNIT 16. THE CARD-IMAGES OF THE

INPUT CARDS ARE PRINTED ON UNIT 14.

*** A SUMMARY OF THE OUTPUT (SUITABLE FOR CRT-TERMINALS, LINES < 71 CHARACTERS) IS PRINTED ON UNIT 66

THESE I/O UNITS CAN BE CHANGED IN THE MAIN PROGRAM.

THE USUAL INPUT OF THIS PROGRAM SHOULD CONSIST OF

1.A TITLE CARD, CONTAINING UP TO 80 CHARACTERS

2.A PARAMETER CARD, WHICH MAY BE COMPLETELY BLANK

3.ANOTHER PARAMETER CARD. CAN ALSO BE BLANK.

4.A NUMBER OF LINES CARDS.

THE OPTIMUM NUMBER OF LINES TO BE ENTERED IS SOMEWHERE BETWEEN 30 AND 35.

THE ABSOLUTE MINIMUM IS 20. THERE IS NO MAXIMUM, BUT THE PROGRAM WILL USE ONLY THE FIRST 40 LINES

0NOTE**  IF YOU ACTUALLY USE CARDS,  THEY MAY BE LEFT BLANK.HOWEVER, IN SOME COMPUTER SYSTEMS ONE

CANNOT GENERATE AN INPUT FILE WITH COMPLETELY BLANK LINES, THEY DISAPPEAR WITHOUT A TRACE. IN THAT

CASE, IT IS BETTER TO ENTER A ZERO IN THE FIRST COLUMN OF THE SECOND AND THIRD 'CARD'.

----------------------------------------------------------------------------------------------------

THE LINES SHOULD BE ENTERED IN ASCENDING ORDER OF TWOTHETA ( =DESCENDING ORDER OF D).

----------------------------------------------------------------------------------------------------

THEY CAN BE ENTERED AS 2THETA, Q- OR D- VALUES  IN THE FORMAT  8F10.5

YOU MAY LEAVE ANY NUMBER OF POSITIONS ON THE CARD BLANK. THIS MEANS THAT YOU CAN ALSO ENTER ONLY

ONE LINE PER CARD,IN ANY OF THE POSITIONS OF 8F10.5  MOREOVER, ONLY THE FIRST SIX LINES MUST BE

IN THEIR CORRECT ORDER. AFTER DETERMINING WHETHER THESE ARE IN ASCENDING(2THETA,Q) OR DESCENDING

(D) ORDER, THE PROGRAM WILL SORT ALL LINES.

IF YOU WANT TO DROP A QUESTIONABLE INPUT LINE,  CHANGE ONLY ITS SIGN (PUNCH A MINUS).

THE VALUE WILL REMAIN READABLE, BOTH ON THE CARD AND IN THE TEST OUTPUT.

5.A BLANK CARD (OR A ZERO IN COL. 1 IF YOU WISH  TO BE MORE EXPLICIT) TO FINISH THE INPUT OF LINES

OF ONE PROBLEM.

0  REPEAT THE POINTS 1-4 AS MANY TIMES AS PROBLEMS THEN

6.A CARD CONTAINING THE WORD -- END -- IN THE FIRST THREE COLUMNS, TO FINISH THE INPUT.

1

THE PARAMETER CARD CAN CONTAIN THE FOLLOWING PARAMETERS--

COLUMN  FORMAT  NAME   DEFAULT   MEANING

1      A1     MAN      0       PRINTS THESE INSTRUCTIONS, UNLESS MAN=9

2      A1     INSTR    0       PRINTS INSTRUCTIONS FOR SPECIAL FEATURES IF INSTR=1

3      A1     INTENS   0       READS INTENSITIES BESIDES LINE POSITIONS (8(F7.3,A3)) IF INTENS=1

4      I1     NSOLMX   4       NUMBER OF SOLUTIONS PRINTED OUT EXTENSIVELY.

5- 6    I2     NSYST(1) 0       ORTHORHOMBIC SYSTEM,  +1=YES, -1=NO, 0=INDIFFERENT.

7- 8    I2     NSYST(2) 0       MONOCLINIC   SYSTEM,  +1=YES, -1=NO, 0=INDIFFERENT.

9-10    I2     NSYST(3) 0       TRICLINIC    SYSTEM,  +1=YES, -1=NO, 0=INDIFFERENT.

11-15   F5.2    TOL2    3.0 (QU) TOLERANCE(RANGE) ON 2-DIMENSIONAL SEARCH.

16-20   F5.2    TOL3    4.5 (QU) TOLERANCE(RANGE) ON 3-DIMENSIONAL SEARCH.

21-30   F10.5   WAVEL   1.5406(A)WAVELENGTH

31-32    I2     LINCO    0       IF LINCO .GT. 0, ENTER LINE COMBINATIONS OR ZONES(4F10.2), END WITH

A BLANK CARD,OR A CARD WITH A ZERO IN THE FIRST COLUMN

33    I1     LZERCK   0       GIVES A CHECK ON ZERO-ERRORS WHEN LZERCK > 0

34    I1     K (ENL)  0       GIVES OUTPUT OF INTERMEDIATE RESULTS, IF K .GE. 1

35-36    I2     NQ1      3       NQ1 AND NQ2 DETERMINE THE NUMBERS OF LINES TO BE USED IN

37-38    I2     NQ2      6           COMBINATIONS FOR FINDING ZONES.

39-40    I2     NZ1      6       NZ1 AND NZ2 DO THE SAME FOR FINDING LATTICES FROM ZONES

41-42    I2     NZ2      6

43-44    I2     NR       0       REFINEMENT AND EVALUATION ONLY IF NR .GT. 0. TRIAL LATTICES REQUIRED

45-46    I2     INDAT    5       NUMBER OF THE UNIT ON WHICH TO READ THE LINE POSITIONS

47-48    I2     LIST     1       PRINTS A LIST OF ALL CALC AND OBS LINES FOR *LIST* LATTICES

49-50    I2     J(TEST)  0       TEST OUTPUT IS  PRINTED WHEN  J.GE.1

51-60   F10.5   WMOL    0.0      MOLECULAR WEIGHT

61-70   F10.5   DOBS    0.0      OBSERVED DENSITY

71-78    F8.4   TOLG    6.0      TOLERANCE ON THE MATCH BETWEEN CALCULATED AND OBSERVED TWO THETAS.

79-80    I2     NTST     0       NUMBER,INDICATING WHERE IN THE MAIN PROGRAM,  TEST OUTPUT SHOULD START

0ON SECOND CARD

0 1-10   F10.4   ZERCOR  0.0      ZERO CORRECTION (DEGREES TWOTHETA), TO BE APPLIED TO ALL LINES

11-20   F10.1   PRNTMR  4.0      THE MINIMUM FIGURE OF MERIT FOR A LATTICE TO BE PRINTED

21-30   F10.0   PRNTLN  14.      THE MINIMUM NUMBER OF INDEXED LINES FOR A LATTICE TO BE PRINTED.

1 INSTRUCTIONS FOR SPECIAL FEATURES ****  VERSION  12  *****

0          COL  3  **INTENS**

IF YOU WANT TO ENTER INTENSITIES WITH YOUR LINE POSITIONS YOU SHOULD SET INTENS(COL 3) AT 1.

THE LINE POSITIONS AND INTENSITIES ARE THEN READ IN THE FORMAT 8(F7.3,A2,1X),WHICH MEANS THAT THE

INTENSITIES ARE READ AS CHARACTERS. YOU MAY ENTER THEM AS A 2-DIGIT FIGURE BUT ALSO AS   VS, W , VW

ETC. YOU COULD ALSO USE THIS TO MARK ONLY THE VERY WEAK LINES OR SUSPECTED LINES.

NO CALCULATIONS ARE CARRIED OUT WITH THE INTENSITIES.

0          COL  4  **NSOLMX**

NSOLMX IS THE MAXIMUM NUMBER OF SOLUTIONS FOR WHICH A LIST OF (INDEXED) REFLECTIONS IS PRINTED.

THE CORRESPONDING Q-SCHEME IS ONLY PRINTED WHEN  INTERMEDIATE RESULTS ARE GIVEN (COL. 34)  .AND.

THE FIGURE OF MERIT IS LARGER THAN 4.0.

0          COL 5-6, 7-8, 9-10   **NSYST**

WHEN YOU ARE REASONABLY SURE THAT THE SOLUTION MUST BELONG TO A CERTAIN CRYSTAL SYSTEM, YOU CAN

INDICATE THIS IN COLS 5-10 (3I2). THE COLUMNS SERVE THE ORTHORHOMBIC, MONOCLINIC AND TRICLINIC

SYSTEM RESPECTIVELY.  A ZERO MEANS THAT YOU ARE  INDIFFERENT (DEFAULT CASE), A +1 INDICATES THAT

YOU ARE PRETTY SURE THAT THE CORRECT SOLUTION BELONGS TO THIS CRYSTAL SYSTEM, A -1 MEANS THE OPPOSITE.

THIS OPTION WORKS ONLY ON THE LAST PART OF THE PROGRAM AND DOUBLES THE TOLERANCES THERE..

THIS IS ONLY POSSIBLE FOR ORTHORHOMBIC,MONOCLINIC AND TRICLINIC LATTICES.

0           COL 11-15   **TOL2**

COL 16-20   **TOL3**

THE TOLERANCE ON THE VALUE OF R (THE TRIAL VALUE OF F USED IN THE SEARCH FOR ZONES, SEE MY PAPER,

EQ. 4) IS GIVEN BY *TOL2*. WHEN YOU HAVE VERY GOOD DATA (0.01 DEGREE TWOTHETA) ON A FAIRLY LARGE

UNIT CELL,YOU MIGHT LOWER IT TO 2.5 OR 2.0 .WITH A SMALL UNIT CELL YOU MIGHT INCREASE IT SOMEWHAT

TO SAY 4.0. TOL3 IS THE SAME KIND OF TOLERANCE, BUT NOW ON THE TRIAL VALUE OF D IN THE SEARCH FOR

LATTICES (SEE PAPER, PAGE 91).ITS VALUE CAN BE CHANGED IN THE SAME WAY AS THAT OF TOL2.

0          COL 31-32  **LINCO**

LINCO ENABLES YOU TO ENTER YOUR OWN LINE COMBINATIONS OR YOUR OWN ZONES.

WHEN LINCO IS NOT ZERO, THE PROGRAM EXPECTS CARDS (AFTER THE LINES CARDS+THE BLANK CARD)

AND READS THESE IN THE FORMAT  3F10.2,F10.1

YOU MAY ENTER ANY NUMBER OF ZONES (LESS THAN 40) BUT YOU MUST END WITH A BLANK CARD.

WHEN YOU ENTER ONLY 2 VALUES, THE PROGRAM INTERPRETS THIS AS A COMBINATION OF LINES, TO BE TRIED

FOR FINDING ZONES.

WHEN YOU ENTER 3 VALUES, THE PROGRAM WILL TREAT  THESE AS  A ZONE AND WILL EVALUATE IT. IF YOU WANT

TO ENTER A RECTANGULAR ZONE, YOU MUST SET ITS THIRD CONSTANT AT 0.08 , OTHERWISE THE PROGRAM WILL

TREAT IT AS A LINE COMBINATION.

IF YOU WANT TO ENSURE THAT A SPECIFIED ZONE WILL BE INCLUDED IN THE SEARCH FOR COMPLETE LATTICES,

YOU SHOULD ALSO ENTER A HIGH QUALITY FIGURE (FOURTH VALUE ON THE CARD), PUNCHING A SINGLE DIGIT IN

COL. 31 ASSURES YOU OF A HIGH QUALITY FIGURE.

IF THE PROGRAM DOES NOT FIND THE SOLUTION AUTOMATICALLY, IT CAN OFTEN BE HELPED BY ADDING ZONES IN

THIS WAY. ZONES WHICH ARE CORRECT, ALTHOUGH HAVING A LOW QUALITY FIGURE, CAN SOMETIMES BE RECOGNISED

IN THE LIST OF INTERMEDIATE RESULTS (K, COL.34)  BY THEIR SMALL AREA (I.E. LARGE *A* AND *B*) AND

GOOD COVERAGE NEAR THE ORIGIN (I.E. MOST OF THE  LOW ANGLE CALCULATED LINES HAVE BEEN MATCHED WITH

OBSERVED LINES). ZONES FROM ORIENTED SPECIMENS OR FIBRES, OR FROM ELECTRON DIFFRACTION STUDIES, CAN

ALSO BE USED.

0N.B.  THE PROGRAM WILL SKIP THE ZONE-FINDING PART WHENEVER THIS OPTION IS USED.

TAKE CARE TO ENTER ENOUGH ZONES (OR LINE COMBINATIONS) TO LET THE PROGRAM CONTINUE.

0          COL 33   ***LZERCK***

YOU CAN ALSO ASK THE PROGRAM TO PERFORM A CHECK ON ZERO ERRORS (COL. 33). THE SUBROUTINE GIVES

FULL PARTICULARS.

1

0          COL 43-44   **NR**

WHEN YOU WANT TO ENTER A NUMBER OF TRIAL LATTICES OF YOUR OWN, YOU CAN DO THIS BY MAKING NR POS.

THE PROGRAM WILL NOW EXPECT CARDS WITH TRIAL LATTICES AFTER THE INPUT OF THE LINES (+BLANK CARD).

THERE SHOULD BE 6 DATA PER CARD (FORMAT 6F10.2), THE COEFFICIENTS A,B,C,D,E AND F OF

Q=H*H*A+K*K*B+L*L*C+K*L*D+L*H*E+H*K*F

WHERE Q=10000/(D*D)  (D=INTERPLANAR SPACING IN A)

0*****YOU MAY ALSO ENTER THE TRIAL LATTICE AS A DIRECT LATTICE WITH 6 CONSTANTS IN ANGSTROMS AND (DECIMAL) DEGREES.

THE TRIAL LATTICES ARE TERMINATED BY A CARD WITH ZERO OR BLANK IN COLS 1-10.

0          COL 47-48  **LIST**

LIST. FOR THE BEST SOLUTION, THE PROGRAM WILL PRODUCE A LIST OF ALL OBSERVED AND CALCULATED LINES,

SORTED ON TWOTHETA, UNLESS IT WOULD BE TOO LONG (MORE THAN 100 CALCULATED LINES). IF YOU WANT THIS

LIST FOR MORE SOLUTIONS, YOU SHOULD ENTER THE NUMBER THAT YOU WANT IN COL. 48.  YOU CAN ALSO SUPPRESS

THIS OPTION BY MAKING LIST NEGATIVE. DEFAULT=1

0          COL 71-78   **TOLG**

TOLG IS THE TOLERANCE ON THE FIT BETWEEN OBSERVED AND CALCULATED LINES. IT IS EXPRESSED IN HUNDREDTHS

OF A DEGREE TWOTHETA, E.G. THE DEFAULT VALUE OF 6.0 MEANS THAT A DIFFERENCE OF 0.060 DEGREES TWOTHETA

BETWEEN CALCULATED AND OBSERVED LINES IS JUST ACCEPTABLE.

TOLG APPLIES TO BOTH THE ZONE AND LATTICE SEARCHES, AND TO THE LATTICE REFINEMENT.

FOR VERY ACCURATE DATA IT CAN BE ADVANTAGEOUS TO LOWER TOLG TO 4.0 OR 3.5.

FOR INACCURATE DATA IT CAN BE INCREASED, BUT SUCH DATA IS NOT USUALLY WORTH PROCESSING UNLESS THE

CELL IS VERY SMALL.

0          COL  79-80  *NTST**

THE TEST OUTPUT CAN BE LIMITED TO THE SUBROUTINE  WHERE YOU REALLY NEED IT, BY ENTERING A PARAMETER

FOR *NTEST* IN COLUMN 80 OF THE FIRST PARAMETER  CARD. (SEE SUBROUTINE FOR DIRECTIONS)

0IF YOU WANT THE TEST OUTPUT TO CONTINUE UNTIL THE END OF THE PROGRAM, YOU MUST MULTIPLY THE DESIRED

NUMBER BY 11 AND USE COLUMNS 79 AND 80 OF THE FIRST PARAMETER CARD. PUNCH E.G. 88 IF THE LAST PART

OF THE PROGRAM GIVES YOU TROUBLE.

0                              ********************

*  ON SECOND CARD  *

********************

0          COL 01-10  **ZERCOR**

**ZERCOR**THE PROGRAM APPLIES THIS CORRECTION TO ALL LINES. THE CORRECTION IS APPLIED AS IT STANDS,

A POSITIVE CORRECTION IS ADDED TO THE TWOTHETA VALUES OF THE LINES.

THE CORRECTION MUST BE GIVEN IN DEGREES TWOTHETA, E.G.  -0.052 SUBTRACTS 0.052 DEGREES FROM THE

TWOTHETA VALUES OF ALL LINES, EVEN IF YOU ENTERED D-VALUES.

0          COL 11-20  **PRNTMR**

**PRNTMR**THE PROGRAM DOES NOT PRINT ANY LATTICES THAT HAVE A FIGURE OF MERIT THAT IS BELOW PRNTMR.

THE DEFAULT VALUE IS 4.0, WHICH MUST BE CONSIDERED AS AN ABSOLUTE MINIMUM FOR A LATTICE THAT HAS A

CHANCE TO IMPROVE ITS PERFORMANCE.

0          COL 21-30  **PRNTLN**

**PRNTLN**THE PROGRAM DOES NOT PRINT ANY LATTICES THAT HAVE LESS THAN *PRNTLN* INDEXED LINES.

LATTICES WITH SUCH A LOW NUMBER OF INDEXED LINES ARE SOMETIMES A SUBLATTICE OF THE TRUE LATTICE.

A LATTICE CAN ONLY BE CONSIDERED AS SATISFACTORY WHEN IT EXPLAINS ALL LINES.

0**NOTE**  A USEFUL STRATEGY IS TO IMPROVE THE OBSERVED DATA BY USING LINES FOR WHICH 2 OR MORE

ORDERS HAVE BEEN OBSERVED. THE LOWEST ORDERS CAN BE REPLACED BY A MORE ACCURATE VALUE CALCULATED

FROM THE HIGHER ORDERS, AND SOMETIMES UNOBSERVED FIRST OR SECOND ORDER LINES CAN BE INFERRED AND

ADDED TO THE  *OBSERVED* PATTERN.  LOW ORDER ABSENCES IN WELL-ESTABLISHED ZONES CAN BE FILLED IN A

SIMILAR WAY. MULTIPLE ORDERS CAN ALSO BE USED TO CHECK FOR ZERO ERRORS IN TWOTHETA.

SEE ALSO SUBROUTINE ZERCHK.

1THIS PROGRAM TRIES TO FIND THE UNIT CELL FROM AN POWDER PATTERN

WITH A METHOD PROPOSED BY  DE WOLFF AND PROGRAMMED BY VISSER (J.APPL.CRYST.2,89(1969))

0****************************************************************

*                                                              *

*   ARE YOUR INPUT DATA REALLY THE BEST THAT CAN BE OBTAINED   *

*                                                              *

****************************************************************

FINDING THE UNIT CELL  DEPENDS FOR 95 PERCENT ON THE QUALITY OF THE INPUT DATA.

A RANDOM ERROR OF 0.03 DEGREES TWOTHETA CAN USUALLY BE TOLERATED, BUT A SYSTEMATIC (ZERO POINT) ERROR OF 0.02 DEGREES

IS PROBABLY DISASTROUS.  CHECK YOUR INPUT LINES AGAINST THEIR HIGHER ORDERS.

DO NOT USE A DEBIJE-SCHERRER CAMERA  UNLESS THE UNIT CELL TO BE EXPECTED IS SMALL.

WOULD YOU LIKE TO SOLVE A JIGSAW PUZZLE WHEN HALF THE PIECES ARE MISSING---